## Sheet1
Junior House (Mata Mata)-Annexure B
1 Bedroom, Lounge, Kitchen, Toilet/bathroom
Please note:
1 | Hand in project planning with quote. Starting time, progress targets and completion indicated clearly. No order without project planning.
2 | All measurments to be confirmed by contractor. Differences must be communicated to technical services immediatly. Final measurements will be checked before payments will be done.
3 | Any material that are being removed, that is: doors, stays, gutters etc. stays the property of SANParks, except when there is a prior arrangement. (Must be shown in writing on the quote when agreement is made.) Any old material must be delivered to and kept at the Technical Workshop. Contractor material must be removed from site immediately.
4 | Any Items on worklist that are unclear or where there is doubt must be clarified before work commences.
5 | No additional work (Contingency) can be done before a written quote is handed in and signed off by technical.
All paint is Plascon or of similar proven standards -
1 | Roof - Nuroof or similar standard - White
2 | Walls - Outside - Micatex - Dune 4 or similar on walls, Cape Fynbos on foundations.
3 | Wall - Inside - Double Velvet or Wall & All or similar standard - Sheepish
4 | Window sills - Plascon Velvaglo Enamel or similar standard - Inside and outside - Cape Fynbos.
5 | Steel windows - Plascon Velvaglo Enamel or similar standard - Inside: Dune 4 - Outside - Cape Fynbos.
6 | Fascia's, gutters and downpipes - Plascon Wall & All or similar standard - Cape Fynbos.
7 | Inner doors - If painted - Plascon Velvaglo Enamel or similar standard - Dune 4 / If wood - Maxi Care
8 | Any wood outside - Timberlife Satin Wood 28 or similar standard (Mahogany) / Wood inside - Swartland Maxicare or similar standard (Mahogany).
9 | All curtain rails is (Rufflette) Rollo Glida aluminum type or similar standard.
10 | All taps are Cobra Stella range except where something else is agreed upon. (In writing)
Work discription
| Outside | Units | Unit price | Price
Nr. | Roof
1 | Clean complete area above ceiling in roof cavity before sealing cornis. | 80m²
2 | Spray Expansion foam between wall and ceiling cornice for a dust proof seal. | 86m
3 | Put 50mm isolation (Isotherm) in roof cavity. | 80m²
4 | Ensure that roof is properly fixed on all joints. | 2
5 | Seal all roof screws and any openings with Waterproof paint and membrane. | 2
6 | Paint roof - House and stoep -Nuroof white-2 coats | 110m²
7 | Paint Facia & barch boards same as foudations.-2 coats | 6m²
8 | Paint gutters and downpipes same as foudations.-2 coats | 8m²
9 | Paint all wood with 2x coats Timberlife - Stoep-2 coats | 4m²
Carry over to RFQ pricing schedule - Total for roof:
Nr. | Outside Walls . Door & Window frames included.
1 | Replace airbricks around house. | 4
2 | Ensure all holes around roof and beams are properly sealed. | 2
3 | Stop,sand down and paint walls and foundations. 2 x coats Plascon Micatex - Dune 4 / Cape Fynbos. All roof overhangs and beams the same as the walls. (Included in measurements) All window and door frames included in measurements. (Ensure correct paint and colours is used on frames.) | 136m²
4 | Remove old window putty and replace with new putty. | 6m
5 | Replace sliding stays on windows. | 6
Carry over to RFQ pricing schedule - Total for Outside walls:
Work discription
| Outside | Units | Unit price | Price
Nr. | Outside - Other:
1 | Ensure geyser is connected according to SANS 10252 & 10254 and manufacturer guidelines and replace copper pipework(to be class 2) and valves. | 2
2 | All visble pipes must be isolated with new 10mm EPS lagging. (Lagging must be painted the same colour as the walls) | 20m
3 | Ensure waist pipes is leak proof and extend vacuum breaker / breather pipe above roof (3m 50mm white pvc pipe). All pipes paintes same as walls. | 2
4 | Replace supply tap for the house and ensure all visible pipes is without leaks and properly covered. | 2
5 | Repair small cracks on and around stoep 9m | 2
Carry over to RFQ pricing schedule - Total for Outside - Other:
Work discription
| Inside | Units | Unit price | Price
Nr. | General inside:
1 | Remove current front entrance wooden door with frame, make good plaster to receive aluminium door | 2
2 | Supply and install new 900mm Bronze Aluminium door with 600mm sidelight complete with hinges and door lock.The 600mm sidelight must have 2 sections with window and clip - on insect screens.Over all opening 1500 mm W x 2100 mm H) | 2
3 | Repair /cover 2x airvents in ceilings before paint. | 2
4 | Prepare & paint all ceilings 2 coats Plascon Polvin Pva White. Bathroom ceiling (4.5m²) with white enamelpaint not pva. | 76m²
5 | Prepare & paint all inside walls. All door and window frames, room door surfaces and cuboard frames and door surfaces with insides of cuboards included in measurement.) | 170m²
7 | Repair tile floorjoints and clean grout where needed. | 80m²
8 | Install new double aluminum curtain rails - 3x 1,5m double. | 2
9 | Install new window insect screens in all rooms - 4x 1450 x 450mm. (Contractor to confirm sizes on site before ordering.) | 2
10 | Install new rubber door stops at inside doors. | 4
11 | Install 500mm x 50mm cleats under both room cuboard shelves. | 8
12 | Install 2x new 2 lever door locks on inside doors and one 3lever doorlok on back door. | 2
Work discription
| Inside | Units | Unit price | Price
Nr. | Kitchen -
1 | Tile walls between top cuboard and zink cuboards. 200 x 200mm gloss white tiles, 3mm spacers and light grey grout. | 6m²
2 | Clean all cupboard surfaces properly . Ensure zink is proper seal on worktop. Install new waist and s-trap and 15mm Wall type Cobra zinkmixer | 2
3 | Service all cuboerd hindges and runners. Replace 8x hinges and 8x 500mm bearing drawer runners. | 2
4 | Replace shelves in cupboards white melamien 1/500 x 2000mm and border 1/150 x 2600mm | 4
Carry over to RFQ pricing schedule - Total for Kitchen:
Nr. | Bathroom -
1 | Remove old mirror & Install new 600 x 400mm mirror with 4 holes and screws | 2
2 | Paint walls above tiles. (Measured in walls) | 0
3 | Clean and repair grout on wall tiles. | 20m²
4 | Remove old NE1steel frame window , plaster window reveals and fit new aluminium window with obscure glass i( NE1 -window size) | 2
5 | Replace two shower taps with 15mm Cobra Stella u/t stoptaps and repair tiles around taps. | 2
6 | Install shower caddy (LK's - Shower Corner Caddy Couble - Chrome - code: 300019) | 2
7 | Replace basin p-trap and mixer.Mixer to be Cobra Stella 15mm | 2
8
Carry over to RFQ pricing schedule - Total for Shower:
Summery = All sections add together.
Contingency:
| Carry over to RFQ pricing schedule - Allow 10% contingency of Total 1 without P's & G's. (P's & G's will be added to any additional work requested and approved.) |  | 10%
Carry over to RFQ pricing schedule - P's & G's
| Totaal 1 = Alle hoof afdelings bymekaar getel. |  |  | #REF!
Totaal voor contingency:
P's & G's - 19% :
Algemeen:
Laat 10% contingency toe voor P's & G's. (Indien contingency gebruik word sal P's & G's daarby gereken word.)
Groot totaal:
VAT 15% :
Kwotasie totaal: