## Sheet1
ANNEXURE A
RFQ No. 286306/CM/2025: Bill of Quantities
No | Item | Unit | Quantity | Rate | Amount | VAT @15% | Total Incl VAT @15%
BILL NO 1
MAIN BUILDING
REMOVAL OF EXISTING WORK
Breaking up and removing mass concrete n.e. 150mm thick
1 | Surface beds, slabs, etc | m2 | 12
EXCAVATION, FILLING, ETC OTHER THAN BULK
Excavation in earth not exceeding 2m deep
2 | Trenches | m3 | 5
Extra over bulk excavation in earth for excavation in:
3 | Soft rock | m3 | 1
4 | Hard rock | m3 | 1
Extra over all excavations for carting away
5 | Surplus material from excavations and/or stock piles on | m3 | 5
site to a dumping site to be located by the contractor –
free haul 10km
Earth filling supplied by the contractor compacted to
93% Mod AASHTO density
6 | Under floors, steps, pavings, etc | m3 | 2
REINFORCED CONCRETE
25MPa/19mm concrete
7 | Vanity slabs, cupboard slabs, cover slabs, etc | m3 | 9
CONCRETE SUNDRIES
Finishing top surfaces of concrete smooth with a wood float
8 | Paving to falls | m2 | 78
ROUGH FORMWORK (DEGREE OF ACCURACY II)
Rough formwork to sides
9 | Edges, risers, ends and reveals not exceeding 300mm high or wide | m | 154
REINFORCEMENT
Fabric reinforcement
10 | Type 193 fabric reinforcement in concrete surface beds, slabs, etc | m2 | 78
SANITARY PLUMBING
uPVC pipes
11 | 110mm Pipes | m | 20
Supply the below:
12 | Galvanised steel shelving 920 x 920 x 1800mm high | No | 48
13 | Heavy duty 1300 x 1300mm jumbo bin | No | 10
14 | Heavy duty 700 x 500 x 380mm plastic container | No | 10
15 | Heavy duty 520 x 340 x 250mm plastic crates | No | 10
SANITARY PLUMBING
| HDPE class 4 pipes | m | 35
16 | 40mm hdpe pipe | No | 1
17 | 40mm Ball valve | No | 1
18 | Stand pipe with bib tap | No | 1
19 | Water mist sprayer | No | 4
ELECTRICAL INSTALLATION
20 | 6mm2 x 4 core electrical cable | m | 35
21 | 4mm2 electrical earth cable | m | 35
22 | 100 x 50 x 50mm wall box | No | 2
WIRING
PVC insulated copper conductors drawn into wire ways,
including waste and termination with colours as specified
23 | 2.5mm2 | m | 96
LIGHT SWITCH
Supply and install the following light switch with cover plate
24 | Isolator | No | 2
MECHANICAL WORKS
FANS
25 | Ceiling mounted fans to Sanparks specifications- Lumex | No | 2
1200mm white or similar approved
CONDUIT
PVC conduit, complete with all couplings, bushes,
locknuts, fixing saddles and screws, cutting, threading,
reaming, fixing, cleaning for wiring purposes, in roof
space, in concrete or brick and surface mounted
26 | 20mm dia | m | 32
CONDUIT BOXES
27 | 100 x 50 x 50mm wall box No 2 60.00 120.00 | No | 2
28 | 20A circuit breaker 3P No 2 250.00 500.00 | No | 2
29 | Ban year box No 1 2,000.00 2,000.00 | No | 1
PROFILED METAL SHEETING AND ACCESSORIES
REMOVAL OF EXISTING WORK
Taking down and removing roofs, floors, panelling,
ceilings, partitions, etc
30 | Metal/fibre cement sheeting roof covering (purlins and | m2 | 380
roof structure remains)
0.5mm Corrugated iron spelter galvanised sheet steel
with "Chromadek" finish on one side fixed to timber/steel
purlins or rails
31 | Roof covering with pitch not exceeding 25 degrees.00 | m2 | 380
BILL NO 2
ROOF SHELTER
EARTHWORKS
SITE CLEARANCE ETC
Site clearance
1 | Digging up and removing rubbish, debris, vegetation,
| hedges, shrubs and trees not exceeding 200mm girth, | m2 | 75
bush, etc
EXCAVATION, FILLING, ETC OTHER THAN BULK
Excavation in earth not exceeding 2m deep
2 | Trenches | m3 | 8
Extra over bulk excavation in earth for excavation in
3 | Soft rock | m3 | 2
4 | Hard rock | m3 | 2
Extra over all excavations for carting away
5 | Surplus material from excavations and/or stock piles on site to a | m3 | 8
dumping site to be located by the contractor – free haul 10km
Earth filling supplied by the contractor compacted to
93% Mod AASHTO density
6 | Under floors, steps, pavings, etc | m3 | 7
Risk of collapse of excavations
7 | Sides of trench and hole excavations not exceeding 1,5m deep | m2 | 7
Keeping excavations free of water
8 | Keeping excavations free of all water other than
subterranean water
SOIL POISONING
Soil insecticide
9 | To bottoms and sides of trenches etc | m2 | 9
CONCRETE, FORMWORK & REINFORCEMENT UNREINFORCED
CONCRETE CAST AGAINST EXCAVATED SURFACES
20MPa/19mm concrete
10 | Strip footings | m3 | 1
REINFORCED CONCRETE
25MPa/19mm concrete
11 | Vanity slabs, cupboard slabs, cover slabs, etc | m3 | 5
CONCRETE SUNDRIES
Finishing top surfaces of concrete smooth with a wood float
12 | Paving to falls | m2 | 32
ROUGH FORMWORK (DEGREE OF ACCURACY II)
Rough formwork to sides
13 | Edges, risers, ends and reveals not exceeding 300mm high or wide | m | 23
REINFORCEMENT
Fabric reinforcement
14 | Type 193 fabric reinforcement in concrete surface beds, slabs, etc | m2 | 63
ROOF COVERINGS
PROFILED METAL SHEETING AND ACCESSORIES
0.5mm Corrugated iron spelter galvanised sheet steel with
"Chromadek" finish on one side fixed to timber/steel purlins or rails
15 | Shade net 80% | m2 | 101
CARPENTRY AND JOINERY
ROOFS ETC
ROOFS ETC
Prices for all beams, etc. to include for sanding down
and treatment with a 50/50 mixture of linseed oil and
turpentine on all exposed surfaces after completion
16 | 126-150mm Diameter beams in lengths exceeding 2,4 | m | 49
and not exceeding 3,9m, bolted
Sundries
17 | Two coats creosote on sawn timbers m2 20 75.00 1,500.00 | m2 | 20
GRAND TOTAL